| HLG-185 Direct Drive |  | • Lowest price • Simplest design • Failure in any string will affect other strings • Unbalanced current in each string |
| --- | --- | --- |
| LDV-185 Multiple Channel C.C. Output |  | • Built-in DC/DC driver ICs in LDV-185 • Each channel need to have the same LED quantity • Balanced current supply • Lower price |
| HLG-185+LDH AC/DC PSU + DC/DC Driver |  | • Higher price • Independent C.C. output, balanced current in each string • Largest size in power stage |
| HLG-185+LDD AC/DC PSU + DC/DC Driver |  | • Higher price • Independent C.C. output, balanced current in each string • Additional mounting space for LDD is required |